User Interface:
- Qt Application
- control: Provides system control (i.e. push some buttons)
- status: Provides status monitoring (check engine light)
- configuration: Can initiate configuration editing
- logging: Of status, of operations, other?
- Ability to forcible restart processes
- Passive mode so that multiple users can monitor the system
- Control functions (buttons):
  - Start
  - Stop
  - Restart specific processes

Processes
- Consumers: for most the part, they should be able to reconfigured themselves just based on the incoming data stream.
- Most (if not all) consumers do not need to be commanded from the user interface. However, they will have RPC servers which can return status information.
- But there may need to be the ability to tell a process to “flush” what it has done, so that the very last data is not lost.

Status
- What about publishing via DDS? No, because then the user interface would need DDS support on all platforms.
- Okay, for now use the RPC polling approach that Eldora uses

Configuration:
Editor: Qt Application?
Persistence mechanism: QtConfig, XML, other? But must be text.
Business logic: Isolated in a instrument specific class library. What about consistency checking?
The configuration “blob” is something that users can have personal versions of. The user interface and the configuration editor are pointed a particular blob.

Inter-Proces Comms:
RPC (XML or other)
- Would be desirable to have an “IDL” scheme such as DDS provides
- In general, RPC servers would run in a separate thread in those processes that are using it. The RPC thread communicates with other threads via? Qt slots would be nice.
- A “hung” process should not be able to hang a calling process.
HCRDrx:
- Four threads:
- RPC
- DRX
- Housekeeping
- Merge

Configuration scenarios:
- Viz. Apps: Have “per-user” configuration. (QtConfig)
- DRX and prodiucts generator: configuration delivered via RPC, but will also have a “stand-alone” mode that uses current QtConfig scheme

Timing:
- NTP
- Use crony to provide sub-ms accuracy for the system clock

To research:
- XML RPC vs. other mechanisms
- Make sure that RPC calls are able to specify “timeouts”
- Google Protocol Buffers
- JSON