## Sheet1
Wires
Part number | AWG size | Min. O.D. (in) | Max. O.D. (in) | stranding | LBS/MFT | conductor | insulation | Voltage rating | Temp rating
M22759/16-12 | 12 | 0.111 | 0.117 | 37/28 | 21.8 | tin plated copper | Tefzel | 600 | 150
M22759/16-14 | 14 | 0.091 | 0.095 | 19/27 | 14.5 | tin plated copper | Tefzel | 600 | 150
M22759/16-18 | 18 | 0.069 | 0.073 | 19/30 | 7.65 | tin plated copper | Tefzel | 600 | 150
M22759/16-22 | 22 | 0.05 | 0.054 | 19/34 | 3.52 | tin plated copper | Tefzel | 600 | 150
M22759/16-24 | 24 | 0.043 | 0.047 | 19/36 | 2.4 | tin plated copper | Tefzel | 600 | 150
M22759/12-26 | 26 | 0.073 | 0.077 | 7/36 | 1.23 | Nickel plated copper | PTEE | 600 | 260
M22759/17-26 | 26 | 0.038 | 0.042 | 19/38 | 1.67 | silver plated copper alloy | Tefzel | 600 | 150
** Note: Information taken from Allied Wire & Cable www.awcwire.com
Terminal ring tongue (PIDG - Pre-Insulated Diamond Grip ring tongue terminal)
Partnumber | AWG | Stud size | Color | Max. dia. | Plating
50829 | 26-24 | 4 | black | 0.82 | Nickel
50831 | 22-20 | 4 | green | 0.1 | Nickel
50834 | 18-16 | 4 | orange | 0.135 | Nickel
50844 | 12-10 | 4 | black | 0.214 | Nickel
50845 | 12-10 | 6 | black | 0.214 | Nickel
50830 | 26-24 | 6 | black | 0.82 | Nickel
50831-1 | 22-20 | 6 | green | 0.1 | Nickel
50835 | 18-16 | 6 | orange | 0.135 | Nickel
50839-1 | 14 | 6 | white | 0.15 | Nickel
50845 | 12-10 | 6 | black | 0.214 | Nickel
**Note: part number taken from AMP catalog 82011: STRATO-THERM terminals and splices for high temp applications
Terminal Blocks / Bus Bars | [5 empty] | Stud size | # of studs
Part number | [5 empty] | 6 | 20 |  | Part nuimber | Description
MS27212-1-20/6-32/20 STD |  |  | MS27212-1-20 | [5 empty] | MS18029-1S-20 | 6-32 /20 STUDS COVER ASSEMBLY
[9 empty] | MS27212-1-20 | 6-32 /20 STUDS TERMINAL BLOCK
[9 empty] | MS18029-21 | NUT/SNAP RING